## CC INITIATIONS, 12M80-6M18
PROJECT ID | EQUIPMENT TYPE/SERVICE | MANUFACTURER | TECHNOLOGY OWNER | EPC FIRM 1 | EPC FIRM 2 | EPC FIRM 3 | EPC FIRM 4 | EPC EXECUTION | CUSTOMER | CUSTOMER TYPE | INDUSTRY TYPE | UNIT NAME/LOCATION | STATE/PROVINCE/REGION | COUNTRY | WORLD REGION | TYPE OF UNIT | PROJECT TYPE | S-C, U S-C | FLUID BED | FIRING | COGEN | UNIT CAP | QTY | PROJECT CAPACITY | AWARD DATE | SHIP DATE | OPER DATE | FUEL 1 | FUEL 2 | FUEL 3 | TURBINE CLASS | FRAME/AERO | CC BLOCK SIZE | MODEL (FAMILY) | MODEL (DETAIL) | DLE | WET COMPRESSION | 50 HZ / 60 HZ | CC CONFIG (GTXST) | CC SHAFT | PUBLIC REMARKS | GT MODEL LIST CAPACITY | EQUIPMENT PIECE OF FIRST AWARD
071080 | CC INITIATION |  |  | SHANGHAI ELECTRIC GT COMPANY |  |  |  | EPC | CHINA PR INVESTMENT | UTILITY |  | MINHANG 1 | SHANGHAI | CHINA | NORTH ASIA | GT-CC |  |  |  | UNFIRED |  |  | 1 | 487.5 | 2017-12-01 | 2018-05-01 | 2018-11-01 | GAS/NATURAL |  |  | F CLASS | FRAME | JUMBO | AE94.3A | AE94.3A | YES | NO | 50 | 1X1 | MULTI |  | 310 | GAS TURBINE
071683 | CC INITIATION |  |  | DONGFANG ELECTRIC |  |  |  | EPC | HUADIAN PR INTL | UTILITY |  | QINGYUAN 1, YINGDE | GUANGDONG | CHINA | NORTH ASIA | GT-CC | DIST HEAT-CHP |  |  | UNFIRED | COGEN |  | 1 | 486 | 2018-06-01 | 2019-06-01 | 2020-06-01 | GAS/NATURAL |  |  | F CLASS | FRAME | JUMBO | M701F | M701F | YES | NO | 50 | 1X1 | MULTI |  | 379.3 | GAS TURBINE
063755 | CC INITIATION |  |  | HUADIAN ENGINEERING |  |  |  | EPC | BEIJING ENERGY INVESTMENT (BEIH) | UTILITY |  | YUHU 4, LONGGANG, SHENZHEN | GUANGDONG | CHINA | NORTH ASIA | GT-CC |  |  |  | UNFIRED | COGEN |  | 1 | 493.5 | 2018-06-01 | 2019-12-01 | 2021-02-01 | GAS/NATURAL |  |  | F CLASS | FRAME | JUMBO | SGT5-4000F | SGT5-4000F | YES | NO | 50 | 1X1 | MULTI |  | 300.5 | GAS TURBINE
071662 | CC INITIATION |  |  | UEC - GAS TURBINES |  |  |  | GT OEM AS EPC | KRYMTEPLOELECTROCENTER | UTILITY |  | SAKI 3 | CRIMEA | CRIMEA | EUROPE | GT-CC | DIST HEAT-CHP |  |  | UNFIRED | COGEN |  | 1 | 38.4 | 2018-04-01 | 2019-04-01 | 2019-12-01 | GAS/NATURAL |  |  | AERO | AERO | SMALL | PS-90GP-25 | PS-90GP-25 | NO | NO | 50 | 1X1 | SINGLE |  | 25.6 | GAS TURBINE
071056 | CC INITIATION | [7 empty] | KRAFTWERK OBERNBURG | UTILITY |  | OBERNBURG 1, MILTENBURG | BAVARIA | GERMANY | EUROPE | GT-CC | DIST HEAT-CHP |  |  |  | COGEN |  | 1 | 60 | 2017-10-01 | 2018-01-01 | 2019-10-01 | GAS/NATURAL |  |  |  |  | SMALL |  |  |  |  | 50 | 1X1 |  |  |  | STEAM TURBINE
071112 | CC INITIATION |  |  | GENERAL ELECTRIC | SINOHYDRO |  |  | GT OEM AS EPC / EPC CONSORTIUM | SEB POWER (SARAWAK ENERGY) | UTILITY |  | BINTULU 2, TANJUNG KIDURONG | SARAWAK | MALAYSIA | SOUTH ASIA | GT-CC |  |  |  | UNFIRED |  |  | 1 | 489 | 2017-12-01 | 2019-06-01 | 2021-01-01 | GAS/NATURAL | OIL/DIESEL |  | F CLASS | FRAME | JUMBO | GT26 | GT26 (GE) | YES | NO | 50 | 1X1 | MULTI | ORIG TECH OWNER WAS GE, CHANGED 5/18 | 326 | GAS TURBINE
071483 | CC INITIATION |  |  | SIEMENS POWER GEN | SHANGHAI ELECTRIC |  |  | GT OEM AS EPC / EPC CONSORTIUM | SHANGHAI GORGEOUS | IPP |  | MARTANO 1, ISLA MARGARITA | COLON | PANAMA | LATIN AMERICA | GT-CC |  |  |  | SUPP. FIRED | COGEN |  | 1 | 513 | 2018-03-01 | 2019-03-01 | 2019-09-01 | GAS/NATURAL |  |  | OTHER FRAME | FRAME | JUMBO | SGT-800 | SGT-800 | YES | NO | 60 | 6X1 | MULTI |  | 55.8 | GAS TURBINE
071516 | CC INITIATION |  |  | SINO THAI ENG (STEC) |  |  |  | EPC | GULF POWER | IPP |  | PLUAKDAENG 2 | RAYONG | THAILAND | SOUTH ASIA | GT-CC |  |  |  | UNFIRED |  |  | 1 | 730.5 | 2018-02-01 | 2021-05-01 | 2023-02-01 | GAS/NATURAL | OIL |  | J CLASS | FRAME | JUMBO | M701JAC | M701JAC | YES | NO | 50 | 1X1 | SINGLE |  | 487 | GAS TURBINE
071616 | CC INITIATION |  |  | SIEMENS POWER GEN |  |  |  | GT OEM AS EPC | SCOTTISH & SOUTHERN ENERGY (SSE) | IPP |  | KEADBY 2 (CC), NORTH LINCOLNSHIRE, HUMBERSIDE | ENGLAND | UNITED KINGDOM | EUROPE | GT-CC |  |  |  | UNFIRED |  |  | 1 | 846 | 2018-05-01 | 2019-12-01 | 2020-12-01 | GAS/NATURAL |  |  | H CLASS | FRAME | JUMBO | SGT5-9000HL | SGT5-9000HL | YES | NO | 50 | 1X1 | MULTI |  | 564 | GAS TURBINE
071689 | CC INITIATION | [7 empty] | CITY OF LANSING BOARD OF WATER AND LIGHT | UTILITY |  | ERICKSON 1 (CC) | MICHIGAN | USA | NORTH AMERICA | GT-CC |  |  |  | UNFIRED |  |  | 1 | 256.5 | 2018-06-01 | 2019-06-01 | 2020-06-01 | GAS/NATURAL |  |  | OTHER FRAME | FRAME | MEDIUM | SGT-800 | SGT-800 | YES | NO | 60 | 3X1 | MULTI |  | 51.7 | GAS TURBINE
065508 | CC INITIATION |  |  | HYUNDAI ENG & CONST |  |  |  | EPC | UZBEKENERGO | UTILITY |  | TAKHIATASH 2 | KARAKALPAKSTAN | UZBEKISTAN | EUROPE | GT-CC |  |  |  | UNFIRED | COGEN |  | 1 | 315 | 2017-10-01 | 2018-08-01 | 2020-04-01 | GAS/NATURAL |  |  | E CLASS | FRAME | MEDIUM | GT13 | GT13E2 | YES | NO | 50 | 1X1 | MULTI |  | 208.4 | GAS TURBINE

## DESCRIPTIONS OF COLUMNS
COLUMN | CAPTION | DESCRIPTION
A | PROJECT ID | MCCOY CREATED IDENCIFICATION NUMBER FOR A DISTINCT PROJECT; A SINGLE PROJECT WILL INCLUDE ALL MAJOR PIECES THAT WE FOLLOW; GT-CC PROJECTS ARE GROUPED BY BLOCK
B | EQUIPMENT TYPE/SERVICE | TYPE OF EQUIPMENT OR SERVICE EACH COLUMN REPRESENTS
C | MANUFACTURER | USUALLY THE SAME AS TECHNOLOGY OWNER, BUT WHEN DIFFERENT, IT REPRESENTS THE LICENSEE, JV PARTNER, OR LEGACY MANUFACTURER
D | TECHNOLOGY OWNER | THE PARENT COMPANY THAT OWNS THE TECHNOLOGY BEING UTILIZED FOR A SPECIFIC EQUIPMENT PIECE
E | EPC FIRM 1 | UP TO FOUR FIRMS ARE NAMED THAT CONDUCT THE BULK OF THE ENGINEERING, PROCUREMENT, AND CONSTRUCTION OF A PROJECT
F | EPC FIRM 2 | UP TO FOUR FIRMS ARE NAMED THAT CONDUCT THE BULK OF THE ENGINEERING, PROCUREMENT, AND CONSTRUCTION OF A PROJECT
G | EPC FIRM 3 | UP TO FOUR FIRMS ARE NAMED THAT CONDUCT THE BULK OF THE ENGINEERING, PROCUREMENT, AND CONSTRUCTION OF A PROJECT
H | EPC FIRM 4 | UP TO FOUR FIRMS ARE NAMED THAT CONDUCT THE BULK OF THE ENGINEERING, PROCUREMENT, AND CONSTRUCTION OF A PROJECT
I | EPC EXECUTION | THE WAY NAMED EPC PARTICIPANTS INTERACT WITH THE PROJECT (EPC, EPC CONSORTIUM, GT OEM AS EPC, ETC.)
J | CUSTOMER | THE OWNER OF THE POWER PLANT ASSET THAT PRODUCES THE POWER GEN
K | CUSTOMER TYPE | A DESCRIPTION OF THE CUSTOMER (IPP, UTILITY, INDUSTRIAL), OR A DESCRIPTION OF THE APPLICATION (IMD)
L | INDUSTRY TYPE (WHEN RELEVANT) | THE TYPE OF INDUSTRY OF THAT SPECIFIC PROJECT APPLICATION; NOT NECESSARILY THE GENERAL INDUSTRY OF THE CUSTOMER
M | UNIT NAME/LOCATION | GEOGRAPHIC LOCATION OR NAME OF PROJECT
N | STATE/PROVINCE/REGION | GENERAL GEOGRAPHIC LOCATION OF THE PROJECT
O | COUNTRY | COUNTRY
P | WORLD REGION | WORLD REGION
Q | TYPE OF UNIT | FOSSIL (MOSTLY COAL OR OIL), GT (SIMPLE CYCLE), GT-CC (COMBINED CYCLE), BIOMASS, SOLAR (SOLAR THERMAL), GEO (GEOTHERMAL), WTE, WASTE HEAT, MISC
R | PROJECT TYPE | PROJECT APPLICATION WHEN THE PROJECT IS NOT EXCLUSIVELY FOR POWER GEN (DESAL, CHP, ETC)
S | S-C, U S-C | BOILER / STEAM TURBINE RELATED: TECHNOLOGY DENOTING (i) STEAM PRESSURE OF AT LEAST 221 BAR & TEMPERATE OF AT LEAST 550C (FOR S-C) AND (ii) 240 BAR AND 593C (FOR U S-C).
T | FLUID BED | BOILER RELATED: FLUID BED (FB), BUBBLIZING FLUID BED (BFB), CIRCULATING FLUID BED (CFB), ETC.
U | FIRING | HSRG RELATED: IF A UNIT PULLS ADDITIONAL FUEL IN ORDER TO FIRE AT HIGHER CAPACITIES THAN THEORETICALLY POSSIBLE IN STANDARD COMBINED CYCLE SETTINGS
V | COGEN | A PROJECT THAT HAS MULTIPLE FUNCTIONS FOR THE USEFUL ENERGY (CHP, DESAL, ETC)
W | UNIT CAP | CAPACITY OF THE SPECIFIC UNIT; FOR HRSGS, 50% OF GT IN COGEN APPLICATION AND EQUAL TO ST CAPACITY IN CC; CHANGED IN 2015 TO 50% OF MODEL LIST CAPACITY (SEE AR BELOW)
X | QTY | NUMBER OF UNITS
Y | TOTAL CAP | COMBINED CAPACITY OF ALL THE UNTS
Z | AWARD DATE | THE DATE WHEN FULL NOTICE TO PROCEED (FNTP) WAS RECEIVED BY THE MANUFACTURER
AA | SHIP DATE | ESTAIMED DATE THE UNIT WAS SHIPPED FROM THE FACTORY
AB | OPER DATE | SURVEYED DATE WHEN THE MANUFACTURER ORGINALLY ANTICIPATED THE COMMERCIAL OPERATION OF THE UNIT
AC | FUEL 1 | PRIMARY FUEL (AS ANTICIPATED WHEN FNTP DECLAIRED)
AD | FUEL 2 | SECONDARY FUEL (AS ANTICIPATED WHEN FNTP DECLAIRED)
AE | FUEL 3 | TERTIARY FUEL (AS ANTICIPATED WHEN FNTP DECLAIRED)
AF | TURBINE CLASS | GAS TURBINE RELATED: THE FIRING TEMPERATURES ACHIEVED BY GAS TURBINES, AS GENERALLY ACCEPTED BY THE MARKET
AG | FRAME/AERO | GAS TURBINE RELATED: LEGACY TECHNOLOGY DERIVATION OF THE UNIT
AH | GT/HRSG SIZE CATEGORY | GAS TURBINE (HRSG RELEVANT): X SMALL (3-19.9 MWE), SMALL (20-99.9 MWE), MEDIUM (100-214.9 MWE), LARGE (215-299.9 MWE) OR JUMBO (300 MWE +); FOR HRSG, 50% OF THOSE SAME MEASURES
AI | MODEL (FAMILY) | GAS TURBINE RELATED: THE MOST GENERAL TERM APPLIED TO A CATEGORY OF GAS TURBINE, OR THE NAME OF THE MODEL ORIGINALLY DECLARED TO MCCOY
AJ | MODEL (DETAIL) | GAS TURBINE RELATED: THE MOST RECENT TERM APPLIED TO A MODEL, WITH AS MUCH DESCRIPTION AS POSSIBLE
AK | DLE | GAS TURBINE RELATIED: DRY LOW EMISSIONS OR DRY LOW NOX, REDUCED NOX EMSSION STANDARDS
AL | WET COMPRESSION | GAS TURBIEN RELATED: MISTING OR WATER INTRODUCED INTO THE TUBINE UNIT TO CREATE EFFICIENCIES
AM | 50 HZ / 60 HZ | ELECTRICITY TRANSMISSION STANDARD FOR THE UNIT
AN | CC CONFIG (GTXST) | COMBINED CYCLE RELATED: THE NUMBER OF GAS TURBINES X NUMBER OF STEAM TURBINES; NUMBER OF STEAM TURBINES SHOULD BE ONE UNLESS ITS 3X2, 5X2, ETC
AO | CC SHAFT | COMBINED CYCLE RELATED: EITHER "SINGLE" DENOTING ONE SHAFT OR "MULTIPLE" DENOTING TWO OR MORE SHAFTS
AP | PUBLIC REMARKS | QUICK STATEMENTS WHEN AN ITEM RISES TO A DISCLOSURE THRESHOLD
AQ | GT MODEL LIST CAPACITY | THE LIST CAPACITY OF GT UNIT ON WHICH THE HRSG UNIT WILL OPERATE ACCORDING TO THE GTW'S 2015 GAS TURBINE SPECS
AR | LAST MODIFIED DATE | DATE WHAN PROJECT OR UNIT DATA WAS LASTED ALTERED OR CHANGED FOR ANY REASON